| Fire Extinguishers |
| --- |
| Hazards Identified | Chemical and/or heat burns Hand exposure to dangerous levels of cold from metal parts of CO2 extinguishers Smoke and/or poisonous gases inhalation Unconsciousness or death |
| Hazard-Specific Personal Protective Equipment | None indicated |
| Hazard-Specific Training | Fire Safety Training including proper technique and use of a fire extinguisher |
| Related Safe Work Practices and Procedures | Fire Extinguishers Practice Fire Safety Procedure |
| Safe Work Procedure |
| Introduction: You are not required to fight a fire. If you have the slightest doubt about your control of the situation, DO NOT FIGHT THE FIRE. Alert everyone in the building to evacuate, go to the nearest phone, i.e. a neighbor, and Dial 911. Fire Extinguishers are only used for small or contained fires. After quickly determining it is safe to try to extinguish the fire: Using the acronym ‘PASS’: Pull the pin at the top of the fire extinguisher. Stand at least a meter away from the fire and Aim the nozzle at the base of the fire. Squeeze the lever slowly or pump the handle. Sweep from side to side at the base of the fire – not the flames - until the fire is completely out. Keep a clear escape route – never put the fire between yourself and your exit. Do not walk on an area that you have "extinguished" in case the fire reignites or the extinguisher runs out! An extinguisher typically contains 8 – 30 seconds of extinguishing power. Don’t immediately walk away. Stay near where the fire was extinguished to make sure the fire does not reignite. Check area frequently to ensure the fire is not smoldering and does not reignite. Seek medical assistance if necessary for yourself or others. Tell the client or responsible family member to get the extinguisher recharged as soon as possible. Notify your supervisor and document the incident as soon as safely possible. |
| References: | Home Safety Council: How and When to Use a Fire Extinguisher. 2011. Washington, DC. Internet Document: http://www.homesafetycouncil.org/safetyguide/sg_fire_w009.asp How To Use A Fire Extinguisher. Nd: http://www.fire-extinguisher101.com/using.html Using A Fire Extinguisher. 2002: www.city.ottawa.on.ca/city_services/fire/9_2_10_en.shtml: Using Fire Extinguishers. Nd: www.ilpi.com/safety/extinguishers.html: When Not To Fight A Fire. Nd: www.city.mississauga.on.ca/commsvcs/fire/html/fireprim.htm: Fire Extinguishers : August 22, 2012. http://www.safeathome.ca/protection/what-you-need/fire-extinguishers/ Fire Extinguishers: Dec. 2014 : http://www.calgary.ca/CSPS/Fire/Pages/Safety-tips/Safety-tips-home/Fire-extinguishers.aspx Fire Extinguisher Training : Best Practices. October 01, 2013 : http://ohsonline.com/Articles/2013/10/01/Fire-Extinguisher-Training-Best-Practices.aspx MEMIC Safety Net. ( October 12, 2016). The All About Workplace Safety Blog: Do you have the right fire extinguisher for your workplace? Retrieved from http://memicsafety.typepad.com/memic_safety_blog/2016/10/do-you-have-the-right-fire-extinguisher-for-your-workplace.html University of Winnipeg: (N.d.) Fire Prevention / Fire Extinguisher. http://www.uwinnipeg.ca/safety/fire-prevention-fire-extinguisher.html |

Note: This safe work practice (SWP) has been provide by Lunenburg Home Support and is intend as a guide for you to develop your organization’s SWP