| Propane Leak Safety |
| --- |
| Hazards Identified | Carbon Monoxide Poisoning Fire Explosion |
| Hazard-Specific Personal Protective Equipment | None recommended |
| Hazard-Specific Training | Propane Safety Talk WHMIS Training and Annual Refresher Fire Safety Training |
| Related Safe Work Practices and Procedures | Propane Safety Practice Propane SDS Fire Safety Procedure Fire Extinguishers Practice and Procedure |
| Safe Work Procedure |
| Introduction: Propane is a safe, clean-burning, and versatile fuel when properly used. In its natural form, propane is colorless and odorless. To make propane easier to detect in case of a leak or spill, manufacturers add a chemical compound to give it a distinctive smell (rotten egg smell). Leaking propane is heavier than air and will flow to low-lying areas. Never assume that the odor of gas is a sign that the tank is running low. If you smell gas in the house or the alarm signals, immediately do the following: If you smell gas, ACT FAST! If no flames or sparks: Immediately put out all smoking materials and other open flames. Do not operate lights, appliances, telephones, or cell phones. Sparks from these sources can trigger an explosion or a fire. Exit the home immediately and move upwind away from the smell! Assist the client outside and away from the house too, if it is safe for you to do. (leave the door and windows opened) If someone is present that is knowledgeable about propane, he/she should shut off the gas supply at the outside tank. Call 911 from the closest neighbor’s home or other nearby building away from the home / gas leak. Stay with your client, away from the house, upwind to the smell, until the problem has been corrected by a qualified service technician, or a family member relieves you. Notify your Supervisor and document the incident as soon as safely possible. Remember: Do Not turn light switches, appliances, flashlights or thermostats on or off, and do not use the telephone or cell phone. A spark from one of these could ignite the gas. Do Not light matches or create any other source of ignition and do not light or try to re-light any appliances. Leave this job to the propane supplier. Do Not re-enter the building, until the problem has been corrected. Propane devices that are not working properly or are not well ventilated can produce carbon monoxide, a colorless, odorless, and extremely toxic gas. Carbon Monoxide poisoning can cause brain damage and can lead to unconsciousness or death. The symptoms of carbon monoxide poisoning are: Headache and tightness across the forehead and temples; Weakness, dizziness, nausea and/or drowsiness; Confusion or impaired judgment; Loss of muscular control; Watering and smarting of the eyes; Shortness of breath; and, Loss of consciousness First Aid: If your client or someone is having discomfort after having contact with propane: Move them to fresh air and keep them warm and calm. In all cases, seek emergency medical care – dial 911. If they have breathed in propane vapour, perform artificial respirations if breathing is difficult or not present. First Aid: If exposed to liquid propane, it can freeze the skin or eyes. Use warm water to: Treat frostbite-affected skin Flush eyes Remove clothing frozen to skin Review the Propane SDS sheet for first aid information. |
| References: | Canadian Center for Occupational Health and Safety: Basic Information On Propane. Ontario, Canada. 1997. Internet: www.ccohs.ca/oshanswers Canadian Propane Association: Propane Safety, Carbon Monoxide Safety. Ottawa, ON, Canada. April, 2012. Internet: http://www.propane.ca/sites/default/files/files/PropaneSafety_CarbonMonoxide_E.pdf Canadian Propane Association: Propane Safety for Consumers. Brochure. 2015. Internet: http://cpa-dev.cyansolutions.com/sites/default/files/files/Propane_Safety_Brochure_2015.pdf Canadian Propane Gas Association (CPAG). (June 22, 2016) Propane Safety. Retrieved from https://www.irvingenergy.ca/your-safety/propane-safety/ Canadian Safety Council: Fuel for Summer Activities: 2005. Internet Document: http://archive.safety-council.org/info/sport/propane.html Nova Scotia Dept. of Labour and Advanced Education. Fuel Safety, Propane BBQ Safety Tips. 2013. Internet Document : http://novascotia.ca/lae/fuelsafety/fsbpropanedanger.asp Ontario Propane Association: Propane Safety. Ontario, Canada. nd. Internet: www.propanegas.on.ca/propane Propane Gas Assoc. of Canada: In The Home. 2002. Internet: www.propanegas.ca/propane/frame2.htm: Propane Gas Assoc. of Canada: Propane Safety At Home. 2010. Internet: http://www.propanegas.ca/PGAC/Safety_Home.asp Propane Gas Association of Canada: Propane Gas Safety. What you and Your Family Need to Know. Brochure sponsored by Office of the Fire Commissioner Victoria, BC, Tarasen Gas, and the BC Safety Authority. 2004. Internet: http://www.propanegas.ca/FileArea/PGAC/PropaneGasSafety.pdf Suburban Propane: Important Propane Safety Information. Propane Education and Research Council. USA. 2005. Internet: http://www.suburbanpropane.com/propane_safety_family.pdf Suburban Propane: Propane Safety. Propane Education and Research Council. USA. 2006. Internet: http://www.suburbanpropane.com/propane_safety_pamphlet.pdf Superior Propane: Propane Appliance Safety. 2014. Internet Document: http://www.superiorpropane.com/customer-service/propane-appliance-safety/ |

Note: This safe work practice (SWP) has been provide by Lunenburg Home Support and is intend as a guide for you to develop your organization’s SWP.